## Sheet1
Product No | Description | Rate
7828718 | Ignition electrode | 39
7836177 | Burner Door Gasket, 187x5.5mm WB / B2 | 26
7837231 | Membrane expansion vessel CRI 8 | 145
7841770 | Heat Exchanger 14 Plate | 85
7837892 | Safety valve 3bar | 28
7828646 | Membrane expansion vessel CRI 8 | 114
7875503 | Plate heat exchanger 20 Platten | 140
7828750 | Air vent for HK pump | 28
7831346 | Ignition electrode | 41
7841765 | Flow pipe 29kW | 37
7819967 | Temperature sensor | 80
7875504 | Heat Exchanger 14 Plate | 111
7841748 | Control VBC113-C10.001 PCB | 295
7837229 | Outlet pipe | 40
7828636 | Outlet pipe | 35
7830016 | Thermal insulation | 47
7828637 | Form hose HR | 26
7841779 | Plate heat exchanger 18 Platten | 125
7829798 | Ignition electrode block | 44
7833029 | Safety valve 3bar | 42
7822742 | Test Port Cap (Set of 2) | 12
7841766 | Heating Return Pipe 29kW | 37
7828645 | Flue gasket | 9.8
7870767 | Control VBC113-F22.001 | 323
7834987 | Thermal insulation ring | 64
7841796 | Seal set f plate heat exchanger + screw | 12
7837230 | Form hose HR | 40
7841762 | Ignition electrode | 30
7857233 | Control VBC112-A01.200 WB1B HO | 295
7817500 | Connection Clip | 6.7
7874668 | Pump motor G-HE | 309
7828635 | Outlet pipe | 26
7836489 | Ionization Electrode(w Gskt)B2Hx 160-352 | 40
7834235 | Ionisation Electrode WB2B45+,B2HA399/530 | 40
7827024 | Gasket, ionisation electrode (5 pce) | 13
7838087 | manometer | 61
7834985 | manometer | 54
7876450 | Pump Motor G-HE PWM | 309
7828747 | Gasket set PHE | 29
7869893 | Main PCB VBC115-A10.008 | 119
7875205 | Ignition Cable 5kOhm B1HA/B1KA v2 | 35
7858946 | Stepper motor | 67
7832516 | Control unit VBC112-A01.100 WB1B | 319
7843363 | Form hose HR | 40
7506620 | Filling with backflow preventer | 128
7831502 | Connection pipe MAG G3/8 | 20
7841830 | Flow sensor | 59
7855184 | Flow/Return Isolation Valve | 68
7836178 | Burner Gasket, 299x5.6mm WB2B / B2Hx | 51
7822767 | Sensor #15 (Flue Gas, NTC) | 26
7826516 | Ignition electrode | 39
7834234 | Ionization Electrode w Gsk WB2B-19/26/35 | 40
7825486 | Condensate Hose, 400mm WB1A | 6.1
7819971 | Quick Air Vent G3/8 | 21
7875202 | Ignition cable m. angle 5kOhm | 35
7875502 | Plate heat exchanger 12 Platten | 111
7843299 | Outlet pipe | 41
7828647 | connecting hose MAG | 21
7837228 | Outlet pipe | 40
7828748 | Step Motor (linear) CPK/B1KA | 72
7883995 | Cleaning Kit (Spatula, w 3 replacements) | 43
7828716 | Thermal insulation ring | 52
7828749 | Flow Sensor B1KA / CPK | 84
7841824 | Stepper motor | 116
7856565 | Ionisation electrode | 42
7826473 | Expansion vessel 10L | 120
7826514 | Gasket, burner gauze assembly | 16
7828721 | Gas Valve | 196
7818021 | Condensate hose | 12
7823837 | Ignition electrode | 40
7831659 | Plate Heat Exch. + seals CB10-26 B2Tx 35 | 145
7874510 | Ignition electrode incl. ignition cable | 85
7826471 | Gasket DN60 | 7.7
7825487 | Thermostatic switch | 20
7836815 | Ignition electrode block | 42
7842085 | Ignition Transformer | 23
7829806 | Htg flow/return/Isolation valves (2 pcs) | 95
7826217 | Gasket | 7
7827932 | Valve Insert (Diverter valve) B2Tx | 84
7833510 | Manometer0-6bar w.flexhose PressureGauge | 35
7828002 | Gasket A 10 x 15 x 1.5 (5pcs) | 7
7829788 | Condensate hose | 12
7836324 | Gas Valve CES w Gskts WB2B | 157
7859038 | Plate heat exchanger CB11 17 | 104
7875203 | Connecting Cable, Ignitor v2 WB1B | 40
7827567 | Nipple, D=87 VD2A 125-270 | 21
7827429 | Pipe Clamp DN25 (Set of 5) | 12
7842194 | PCB VBC113-C11.xx B1HA/B1KA | 295
7836994 | Membrane expansion vessel 10L | 115
7826515 | Ignition electrode | 40
7859039 | Plate Heat Exchanger CB11 19 | 104
7833759 | Radial Fan NRG118 E CVI | 215
7834783 | P-Trap, Condensate B1HA/B1KA | 37
7826214 | O-Ring Set 20.63 x 2.62 (5pcs) | 7
7828766 | O-ring 17.0 x 4.0 (5 pieces) | 13
7824207 | Flow Switch VK315M WB1A/B WB2B-19/26/35 | 88
7876065 | Flow sensor | 64
7823839 | Radial Fan RG130 WB1A | 215
7823511 | Overflow Valve | 79
7828557 | Auto Air Vent + Clip | 27
7841820 | Return casing | 147
7837400 | Safety valve 3bar D=19,9 x D=21,7 PRV | 42
7842355 | Gas Valve V111 B1LD 35kW | 223
7874390 | Ignition electrode | 29
7849854 | Gas valve GB-ND 055 E01-DG 30/35 G20 | 195
7861173 | Outlet pipe | 40
7861490 | Gas valve GB-ND 055 E01 24kW G20 | 195
7849853 | Gas Valve GB-ND 055 E01-DG 19/26 G20 | 195
7823844 | Membrane expansion vessel CRI 8 | 114
7833037 | Safety Valve PRV 3bar D=19,9 x G1/2 | 42
7839451 | Ionisation electrode | 37
7827309 | Flow & Return Isolation Valve (Single) | 31
7835164 | Burner Gasket D=408 B2HA 399/530 | 71
7859207 | Manometer 0-4 bar AHM32 | 27
7828638 | Adapter hose connection | 43
7818363 | Ignition electrodes | 51
7818364 | Ionisation electrode | 38
7810719 | Ignition Electrode Blk CM2 186-311 v1 r | 90
7817324 | Ionization Electrode VMIII w Gskt CM2 sm | 110
7823851 | Trap | 30
7827917 | Condensate hose | 19
7867184 | Ionisation Electrode w/ Gasket | 37
7836998 | Thermal insulation ring | 50
7826553 | Gasket (Flue Gas) d=110mm Skoberne | 17
7867222 | Ignition electrode | 39
7841773 | Connection pipe MAG G3/8 | 19
7823859 | Sealing of plate heat exchanger | 11
7876416 | Control VBC135-A20.2xx PCB | 571
7826472 | Gasket Set (Flue Gas) DN60 | 13
7839170 | Ignition Electrode 1+2 w O-Ring CM2 lg | 140
7883021 | Circulation pump W-HE 130 EC 0-10V | 527
7822760 | Gasket set PHE | 12
7828044 | Plate Heat Exchanger B10-20 B2Tx | 145
7859035 | Plate heat exchanger CB11 13 | 99
7870539 | Radial Fan iNR77 with Gas Valve | 321
7826466 | Vent Pipe Adaptor 60/100 WBxB/B2xA 19-35 | 42
7856560 | Boiler door seal | 39
7828008 | Membrane Expansion Vessel CRI10 | 110
7828717 | Cylinder burner gauze assembly | 94
7829293 | Cover (Flip-Down) WB1B | 38
7867219 | Burner door gasket GCM32 CHE | 26
7831407 | O-ring 16 x 3 (5 pieces) | 21
7861174 | Connecting Pipe return HO | 61
7875204 | Ignition cable m. angle 5kOhm | 38
7876417 | Control VBC135-A10.2xx PCB | 571
7826474 | connecting hose MAG | 19
7841522 | Control VBC113-B01.900 PCB | 323
7843300 | Outlet pipe | 33
7822897 | Differential Press. Sensor WB2A | 88
7826541 | Flue gasket | 12
7827933 | Profiled gasket (4 pce) | 8.5
7828795 | Flow Switch VK332M WB2B / B2HA 285-352 | 88
7829796 | Gasket (Radial Fan) WBxB | 12
7831997 | Cylinder burner gauze assembly | 213
7840511 | Radial Fan RG148 E 230VAC | 461
7822709 | Hinges (Ctrl Housing, Set of 10) WBxB | 20
7826524 | Gasket, burner gauze assembly | 14
7827025 | Gasket (Ign. Electrode) 5x Set, WB2B/B2x | 13
7835633 | ignitor | 70
7836593 | Condensate Drain Kit B2Hx 285-530 | 39
7838382 | Control unit VBC132-A06.101 | 527
7842357 | Gas Valve V111 B1LD 26kW | 223
7825533 | Plate heat exchanger 12 Platten | 145
7828639 | Connection elbow, return | 38
7861491 | Ionization Electrode NiFe CM2 lg | 119
7874717 | Pump Motor W-HE SC | 249
7822764 | Step Motor (linear) CPK/B1KA | 56
7823838 | Flapper (air/fuel) u | 28
7828337 | Thermal insulation ring | 46
7826542 | Flow Switch VK332M WB2B / B2HA 285-352 | 88
7834986 | Condensate hose | 34
7822353 | Air Bleed Valve, G3/8 B1xx,B2xx 68-125 | 9.1
7827843 | Thermal insulation | 42
7828522 | Ign.Transf. Module ZIG 2/12 WB1A | 39
7839505 | Gasket A 23 x 30 x 2 (5pcs) | 11
7841062 | Corrugated hose 19 x 800 with spout / be | 21
7831501 | Expansion Tank 12L B2TA / B2TB | 150
7868457 | Radial fan NRG 118 24kW | 213
7824837 | Gasket (Flue Gas), D80 Skoberne | 13
7827950 | Plate heat exchanger | 197
7828980 | X20 cable Harness V111 | 27
7826554 | Safety Valve (PRV) Set TÜV | 75
7833511 | Radial Fan RG148 E | 461
7826470 | Connection Pipe HR | 21
7831009 | Ignition line 1,00 sw l=420 | 21
7831409 | O-ring 8x2 (5 pce) | 22
7867182 | Thermal insulation ring | 55
7828346 | Thermal insulation ring | 36
7829297 | Expansion Pipe CPK/B1KA | 45
7844866 | Form hose HR | 38
7874716 | Pump (GF) W-HE SCA | 249
7223869 | Fiber Rope Seal 12mm x 9m, VD2 | 81
7822350 | connecting hose MAG | 19
7827031 | Gasket, ionisation electrode (5 pce) | 12
7828640 | Anschlusswinkel HV | 38
7841752 | Condensate hose | 16
7861605 | Radial fan NRG 118 30/35 | 225
7823542 | Water Switch / Flow switch | 95
7823850 | Condensate drain pipe | 39
7825241 | Control GG1 13-66kW | 521
7838384 | Control Console WB2B-19-60 | 571
7828756 | Bypass Cartridge CPK/B1xA | 38
7876448 | Pump motor G-HE-PWM | 309
7828287 | Cold Water inlet elbow cw. Flow Switch | 63
7894013 | Pump Stratos Para-C 25-180/12 (0-10V) | 820
7827526 | Gas Combi Valve CGS71 D R10 206V | 240
7827957 | ignitor | 44
7828617 | Flue Gasket, 60mm WB1A | 15
7835112 | Sensor #3 (Boiler, Set 2) B2Hx 160-530 | 70
7837250 | P-Trap, Condensate B1HA/B1KA | 37
7426896 | RC unit | 29
7828530 | Water Pressure Sensor WB1A | 70
7835163 | Gas Train CES25 | 240
7820148 | Weather Comp Sensor for T/screen B1KC/HC | 86
7825051 | Fan Unit | 1317
7825490 | Thermostatic switch | 28
7835114 | Flow sensor | 175
7855455 | P-Trap, Condensate B1HA/B1KA | 21
7857725 | Burner Gasket WB2A-44/60 | 50
7823840 | Gas Train VK4115V WB1A | 241
7833512 | Radial Fan RG148 E w Gskts WB2B-80/105b | 461
7833758 | Radial Fan NRG118 E | 215
7836839 | Harness X8/X9/Ioniz. B2HB 160/199 | 63
7404365 | Fuse, T 6.3A/250V (Set of 10) | 6
7823846 | Gasket Set (Flue Gas) WB1A | 23
7828347 | Thermal insulation ring | 63
7835111 | Air Intake Adaptor CU3A | 38
7842354 | Fan NRG 118 35kW | 225
7859041 | Profile Gasket, 26.2mm(Set of 5)B1KE 120 | 8.9
7817688 | Grommet (Flue Gas), DN110 WB2x / B2HA | 11
7818559 | Gasket (Air Intake, Sk) DN150 WB2x/B2HA | 20
7835421 | Manometer 0-4bar | 38
7867181 | Gasket set incl. screws | 35
7869894 | Burner Gasket WB2A-44/60 | 50
7870768 | Control VBC113-F12.001 | 366
7874393 | Thermal insulation ring | 55
7827846 | Thermal insulation ring | 46
7844858 | Access. Pack (CCD screws) B2HB 68-125 | 11
7861604 | Radial Fan NRG 118 19/26 | 225
7865437 | Radial fan with Gas valve | 321
7868495 | Test Port Cap Vitocrossal | 7.5
7820884 | Gasket GF 20 x 15 x L=2000, CT3 | 57
7827960 | Vent Pipe Adaptor 80/125 B2HB 160/199 r | 57
7831673 | Gasket A 16 x 24 x 2 NG/LP (5pcs) | 7
7834766 | Cylind load pump complete VIUP15-30 CIL2 | 175
7836227 | Sealing Profile | 19
7838958 | clip DN30 | 27
7840512 | Radial Fan RG148 E 230VAC | 461
7823857 | Heating Return Pipe HR | 37
7826535 | Condensate hose | 21
7827391 | DHW Cylinder loading pump head only | 200
7828426 | Trap | 21
7831294 | Burner control unit MPA5113-V1.1 | 527
7831436 | Gasket (Burner Flange) CM2 lg | 41
7843308 | Hydraulic Block V100 Combi 26/30/35kW GB | 375
7855454 | Condensate hose | 31
7867110 | Rear Insulation Block | 39
7867223 | Gasket, ignition electrode (3 pce) | 12
7820299 | Ceramic Packing | 29
7824453 | Air Pressure Switch 220/150 Pa WB1A | 94
7826215 | O-ring 17.86 x 2.62 (5 pce) | 8.5
7828036 | Manifold (supply, DHW ht.exch) B2Tx | 164
7831371 | Gasket flame body | 38
7837240 | Hydraulic Combi GB | 402
7859086 | Bypass Cartridge | 38
7861489 | Gas valve GB-ND 055 E01 33kW G20 | 195
7820301 | Gasket GF 16 x 12 l=2000 | 50
7825723 | Adaptor (Paddle) for Step Motor | 52
7826307 | Connecting Pipe return HO | 46
7827981 | Hose 19 x 600 corrugated | 9.9
7828010 | Exp. Vessel Connection Pipe MAG 3/8 x 60 | 31
7834379 | Sensor #5 (DHW, Immersion NTC) | 95
7834991 | T-Connecter | 12
7837257 | Burner door | 94
7813789 | Internal Deflector Pipe(Turbulator RN057 | 63
7828881 | Display Operating unit MPA5113 | 309
7828923 | Gasket set f. Conn. set WB2B 80-105k | 12
7832002 | Gasket (Fan G3G2xx) CM2 500/620 / CA3 | 28
7834038 | Ionisation Electrode w/ Gasket | 40
7838381 | Control unit VBC134-A06.101 | 571
7840820 | 3790AP7080A WINDOW,DISPLAY | 64
7841890 | O-ring 52x3.5 GKR (5 pieces) | 20
7855188 | Flow/Return Isolation Valve | 29
7867216 | Flue gas temperature sensor GCM32 CHE | 26
7874429 | Thermal insulation | 37
7876449 | Pump motor G-HE-PWM | 309
7404396 | Fuse, T 2.5A/250V (Set of 10) | 12
7811837 | Sight Glass c/w Gaskets VD2A/VD2/CT3 | 12
7817746 | Gasket, burner gauze assembly | 18
7822710 | Burner Gasket | 30
7822943 | Press. Gauge (PSI) WB2A-44/60 r | 49
7823182 | Water expansion vessel | 271
7823951 | Flapper (w Frame) WB2A 44/60 | 19
7831784 | Magnesium anode d=33 250/220 | 55
7831867 | Pump Socket 20 | 12
7859042 | Pressure sensor | 54
7859094 | Flow/Return Isolation Valve | 57
7894012 | Pump Stratos Para-C 25-180/12 (0-10V) | 836
7822739 | Manometer with tube 0-4 bar | 44
7826308 | Flow switch | 46
7831034 | Radial Fan RLS154 66kW w/o Elec. | 476
7832347 | Hose 19 x 500, corrugated | 17
7835597 | Thermal insulation | 46
7840346 | Replacement Blades, Cleaning Kit (Pkg/3) | 18
7840566 | Hydraulic (GF), Pumping Block B1HA | 375
7841880 | Wiring harness X1/X17/Stepper motor | 37
7875021 | Display Module 7 Segment HO/SE | 45
7817529 | Flow/Return isolation valve (pack of 2) | 106
7819627 | Ignition electrodes | 48
7831415 | O-Ring 19.8 x 3.6 (5pcs) | 12
7831440 | Outlet pipe | 35
7831530 | Adaptor (Step Motor) B1HA/B1KA | 64
7835467 | O-ring 34.5 x 2.6 (3 pieces) | 9
7843938 | Circulation pump UPM3 15-75 KM | 327
7858773 | Return Housing A01 (for Pump) | 130
7859907 | Ignition electrodes | 99
7866718 | HMU Plug Pack (#1/20/40/74/91/96/156) | 20
7868918 | F module (TCU 100) | 67
7818846 | Lip seal system D200 black | 29
7836449 | Ionisation electrode | 37
7837112 | Fixed High Limit 248°F/120°C GC1/GW2 | 36
7842082 | Coding plug 2589:0203 | 26
7844821 | Plate Heat Exchanger 14 Pl. | 184
7855186 | Cold water tap G1 / 2 x G3 / 8 | 28
7862299 | Prog. Unit, Vitotr 200 HO1B TT | 376
7867221 | ignitor | 30
7874391 | ignitor | 23
7894122 | HBMU S1 | 249
7192325 | Gas Cock Vitodens | 20
7818138 | Gasket (Air Intake, Sk) DN125 B2HA 45/60 | 13
7819628 | Ionisation electrode | 38
7822555 | ignition unit ZAG 2XV 01/10 230V 60Hz | 55
7822785 | Ignition electrode | 46
7825933 | Connection Elbow WW | 45
7826465 | Plate heat exchanger | 162
7826532 | Manometer0-6bar w.flexhose PressureGauge | 38
7827987 | Düse 1,00 Gph 80° S LE Danfoss | 41
7831404 | Fixed High Limit 100°C-6 36TXVE21 | 39
7835113 | Manometer 0-9bar c/w flex hose | 33
7839449 | Bracket (Set of 2) B2Hx / B2Tx | 30
7841809 | Flow housing EU1 | 123
7841882 | Cable tree conn. lead X21/GFA/control | 27
7874399 | Heat exchanger | 291
7828649 | Guide rail set | 14
7828794 | Vent Pipe Adaptor 110/150 B2HA 285-530 | 74
7835156 | Radial fan NRG137 | 654
7843834 | Flow Switch Assly WB2Ab-44/60 | 195
7844823 | Plate Heat Exchanger 18 Pl. | 216
7867217 | Vent Pipe Adapter 60/100mm GCM32 | 41
7867218 | Temperature sensor eSTB Duplex-GCM32 CHE | 33
7867381 | Pressure Switch, PSW-M4 CI2 | 56
7868454 | Flow/Return Isolation Valve | 18
7875871 | Circulation pump W-HE 130 SCU | 249
9544898 | Adhesive VL-1100 | 13
7159687 | Insulation, Burner Blast Tube | 15
7450632 | Sensor #3 (Boiler) NR1 | 80
7822781 | Burner Gasket | 33
7823858 | Plate heat exchanger | 140
7825651 | Cold water valve | 13
7825972 | 60mm Plume Mngmt Wire Mesh | 12
7826529 | Radiator fan RG148 | 461
7828001 | fastening elements | 12
7828021 | Return pipe | 56
7835548 | Diaphragm grommets (set) | 12
7841749 | Control VBC114-C03 | 323
7841759 | P-Trap, Condensate B1HA/B1KA | 21
7855929 | Temp.sensor | 30
7868459 | Radial Fan NRG 118 33kW | 213
7874939 | Diaphragm expansion vessel 8 lt. | 84
7876107 | Coding plug 256C:0406 | 17
7876352 | Control VBC135-A30.2xx inc. Coding Plug | 571
7883029 | Display module 7 segment SE/HO/IW R2 | 45
7816107 | Handhole-gasket 100 X 150 | 39
7817698 | Burner Gasket (Secondary), WB2A | 38
7820290 | Motherboard G-LP4 300 GC1,GW2,MW1,MW2 | 263
7820302 | Gasket Rope GF, 20x15 L=3000mm | 67
7822384 | Rope seal GF d=18 L=3000 | 106
7822707 | Pressure Gauge Fitting WB2x | 15
7822786 | Ionisation electrode | 37
7828003 | Gasket 23 x 30 x 2 (5pcs) | 7
7828753 | Water Level Limiter Type A 12L | 21
7831345 | Connection piece RL | 45
7832826 | Burner Tube, NG/LP WB2B / B2HA | 440
7835225 | Gasket 1¼ (Set of 5) B2Hx 160-530 | 13
7837010 | Coding Plug 1001:02 | 19
7839003 | Door screws (6 pce) | 16
7842356 | Radial Fan NRG 118 26kW | 225
7843831 | Harness X21 B1HA/B1KA | 8.4
7844909 | Access. Pack(Brnr Scr,Set 6)49/60KWB2HB | 19
7875886 | Circulation pump W-HE 180 SC | 527
7815440 | Gasket DN65 PN6 VD2A/VSB/CT3 | 6.7
7820055 | Ionisation Lead VMIII | 45
7820141 | Coding Plug 1010 | 19
7823415 | O-Ring 28,0 X 2,5 | 3.1
7827574 | Comb.Chbr.Dr.Refr. VD2A 125-270 | 366
7827583 | Fibre Rope Seal 12x12x3000 VD2A 125-270 | 51
7827591 | Gasket (Ret.Dist) 62x95x3 VD2A 125-270 | 17
7828350 | Gasket 60 x 116 x 3 VD2A 125-270 | 19
7830198 | Adj. High Limit 30-110°C NR1/NR2 | 59
7838128 | Connection Angle HV | 46
7838383 | Control unit VBC132-A06.201 | 571
7839536 | Grommet Di=128 Da=139 | 12
7841883 | Connection lead Open Therm/ATS | 12
7844822 | Plate heat exchanger 16 Pl. | 162
7855177 | Gas corner tap G3 / 4 - 050 without TAE | 39
7858817 | Top Front Cover Hinge (Pair) BxxE 85-199 | 17
7861909 | Coding plug 25A4:0101 | 26
7890484 | Radial fan iNR77 with Gas Valve | 321
7190100 | (MTO)Angle Set with Lock Rings 22mm | 56
7820852 | Gasket GF 9 x 7 x L=2000 CT3/VL3C | 31
7823558 | Coding Plug 2034:0304 | 26
7824743 | Siphon trap | 26
7826454 | Connection Angle HR | 52
7826540 | Seal kit | 12
7826710 | Set of Ignition Electrodes | 87
7828007 | O-ring 35.4 x 3.59 (5 pieces) | 12
7828037 | Manifold (return, DHW ht.exch) B2Tx | 33
7833688 | Manometer with capillary 0-4bar | 38
7834990 | Wall bracket | 35
7836841 | Cable harness 100/35/54/earth | 63
7836842 | Cable harness 100/35/54/earth | 63
7862495 | Coding Plug 25A1:0102 | 26
7810720 | Gasket (Electrode Block) CM2 sm | 12
7819825 | Temperature sensor NTC | 80
7819975 | Igniter Unit | 47
7820142 | Coding plug 1020 VD2 / VD2A | 19
7822902 | Flow Switch Vitodens 300 WB3A | 30
7823845 | Vent Pipe Adaptor Turret 60/100 WB1A | 56
7826558 | Gasket Set, Htg Circuit | 12
7827462 | Gasket A11.5 x 18.5 x 2 (5pcs) | 11
7827943 | Clip D=8 (5pcs) | 7.9
7828910 | Ball Shut Off Cock DN32 with Retainer | 115
7829321 | Radial fan RG130 230V | 215
7829586 | P & T-Valve | 102
7831455 | Air Separator | 140
7831687 | Pump motor VIUP 15-30 | 184
7833429 | Harness X8/X9/Ioniz. B2HB 160/199 | 63
7834160 | Pressure gauge (white) 0.4b w. capillary | 38
7836850 | Shaft Bushing VEM | 10
7837243 | Hydraulic (GF), Pumping Block B1HA | 309
7838505 | Parameter Stick CM3 130KW | 171
7838576 | Cable harness X8/X9/ion | 94
7839178 | Burner door | 252
7841847 | Coding Plug 2587:0202 | 26
7841965 | PCB VBC114-C04 V111 | 323
7855189 | Pipe tail elbow 22 x 3/4 x 75 | 41
7861483 | Gas valve GB-ND 055 E01 30/35 G20 | 195
7861761 | Pump signal transducer | 191
7874927 | T-Connecter | 17
7890180 | Circulation pump G-HE 130 KM | 327
7820037 | Thermal insulation mats | 124
7820273 | Pack GF 25 x 15 l=2500 | 61
7821010 | Split Kit (1 section) VR1-40/50/63 | 38
7822387 | Rope Seal GF d=18 L=8000 | 153
7822670 | Flue Gasket, 100mm WB1A | 12
7822762 | Water Switch | 28
7822784 | Gasket, burner gauze assembly | 15
7824205 | Connecting Pipe return HO | 64
7826530 | Burner door | 156
7826550 | Seal kit | 13
7826718 | Cable harness 100/35/54/earth | 45
7828038 | Press. Bypass Pipe B2Tx | 38
7828473 | Thermal insulation | 366
7828762 | Clip D = 18 (5 pce) | 12
7831630 | Connection Line, DHW Heating B2TA/B2TB | 45
7831924 | Flapper (air/fuel) u | 29
7833888 | Coding Plug 231C:0101 | 19
7833889 | Coding plug 2337:0101 | 19
7833959 | Hydraulic Combi GB | 375
7833979 | Orifice 09, NG/LP (GRY) B2HA 285-352 | 12
7837253 | Vorderblech | 236
7837934 | Circuit Board (software, CU102) GC/GW/HK | 175
7841855 | Burner Tube | 94
7842393 | Fan NRG 118 35kW | 225
7842394 | Gas Valve V111 B1LD 35kW | 241
7855721 | Seal 17 x 24 x 2 (5 pieces) | 9.6
7861910 | Coding Plug 25A3:0101 | 26
7867376 | Membrane expansion vessel 10L | 87
7871476 | Ignition electrodes | 124
7874997 | Grommets (Set) | 6.5
7882762 | Construction elements | 188
7404364 | Fuse, T 4.0A/250V (Set of 10) | 6.4
7822791 | Air+Gas Inlet Venturi Type 002 WB1A | 89
7824206 | Connection Pipe HR | 40
7826464 | Condensate hose | 21
7826539 | Sealing package | 21
7827845 | Thermal insulation ring | 80
7828618 | O-ring 19.2 x 3 (5 pieces) | 12
7830399 | Fan 100 Connection Pipe | 12
7833278 | Connection pipe flow | 156
7833855 | connecting hose MAG | 39
7833980 | Orifice 10, NG/LP (WHT) B2Hx/CU3A/WB2B | 12
7834275 | Ignition Electrode 1+2 with O Rings | 136
7834277 | Ionisation Electrode with O-Ring | 106
7836285 | Manometer 0-4bar | 38
7836973 | Gasket, burner gauze assembly | 20
7837012 | Coding plug 1020:02 | 19
7837013 | Codeplug 1030:02 | 19
7839168 | Burner Tube w Gasket CM2 500 | 1574
7841767 | T-Connector D=19 slide | 12
7844696 | shape hose HV 35kW | 42
7844794 | Return Hose HR WT | 41
7855624 | Connection line for gas valve 35 | 10
7856590 | Gas Valve | 500
7859032 | NTC temperature sensor VA -30...+125°C | 37
7859568 | Gasket flame body | 20
7861913 | Coding Plug 25A0:0101 | 26
7867132 | Gasket set connection elbow (2+2) | 15
7867224 | Ionisation Electrode Seal (3pcs) | 12
7874669 | Circulation pump G-HE 130 | 327
7874979 | Cable harness on/off switch | 27
7876034 | HBMU HO R1 | 249
7876354 | Control VBC135-A30.2xx inc. Coding Plug | 571
7876428 | Flow sensor | 42
7890172 | Ionisation electrode | 87
7341020 | Shut-Off Valve (pair w gskt) WB2A-44/60 | 106
7817311 | Sensor well | 117
7817686 | Seal kit | 22
7819550 | Cleanout Gskt, VSB/CT3 wo adhesive | 17
7820058 | Display Cover for Control Unit MPA51 | 245
7820182 | Printed Circuit Board GC1 GW1/2 | 285
7822581 | Tube Pack GF d=25 L=3000 | 124
7822793 | Burner door | 106
7823856 | Heating Flow Pipe HV | 27
7824218 | Seal kit | 12
7825339 | Push Nipple, VD2 320-1080 | 21
7825722 | Return Valve Unit Grundfos | 164
7826513 | Cylinder burner gauze assembly | 140
7826557 | Ball Valve Tee G1/2-G1 1/4-G1 1/2 (DE) | 63
7828796 | Trap | 43
7828878 | Ignition Cable CA3 | 38
7828909 | Ball Shut Off Cock DN32 G1 1/2 - Rp1/2 | 175
7831633 | Pressure Gauge NG27 0-4bar w. capiliary | 30
7831754 | Housing, Impeller CIA02 B2Tx | 224
7833890 | Coding Plug 2338:0101 u | 26
7836991 | Thermal insulation | 83
7838502 | Portable memory stick parameter CM2 285k | 171
7841650 | X20 cable Harness V111 | 33
7841876 | Corrugated hose 19 x 155 with bend | 17
7841881 | Cable tree 100/35/54/Ion | 30
7855187 | Corner tap 15 x G1 / 2 m. clamping ring | 26
7855651 | Air Separator | 140
7856569 | Fan gasket | 21
7859564 | Flame tube with inner tube + bead 100kW | 402
7861484 | Gas valve GB-ND 055 E01 19/26 G20 | 195
7863531 | Coding Plug 2A1C:0204 | 39
7867640 | Wall bracket | 39
7874509 | Ignition electrode inc ignition line | 85
7874976 | Cable harness for the power cord | 19
7874981 | Profiled seal 2.5 metres | 9.8
7875019 | Clip Hinge (2pcs) | 6.6
7875026 | Circulation pump W-HE 130 PWM2 Solar | 309
7812522 | Sensor Well, 4-Point CM2 / VD2A / VD2 | 64
7815723 | Check valve | 45
7819527 | Seal kit | 12
7820036 | Fixed High Limit 121ºC, 3510mm r | 124
7822095 | Burner Door (with Gaskets) WB2A | 207
7822306 | Oil burner nozzle 0,50 Gph 80 ° 24/28KW | 41
7822351 | Expansion Tank 12L B2TA / B2TB | 140
7822474 | Plate heat exchanger | 216
7822894 | O-ring 17.86 x 2.62 (5 pce) | 13
7826025 | Pressure sensor | 54
7826538 | Air Separator | 140
7826546 | Connection Pipe HR | 86
7827404 | Kesselanschluss-Stück | 42
7827948 | O-Ring 14.3 x 2.4 (5pcs) | 12
7828914 | Ball Cock 1/2" with square fitting | 21
7831410 | Gasket oval (5 Pcs) B1KA | 31
7831433 | Parameter Memory Stick 370kW_03 | 171
7831685 | DHW Pump VIUP15-30 CIL2 PPS 3h | 191
7835167 | Insulation ring 125/150kW | 117
7835611 | Gasket set for connection set 125/150kW | 38
7835765 | Radial Fan NRG118 / 660 UPM | 255
7836439 | Connection line for gas valve 35 | 10
7837078 | Sensor #2,#3,#5 (Boiler, Tank)Tmk/Dek/KR | 103
7837104 | Access. Pack (Low Volt Plugs, 2-Pole) | 27
7837148 | Motherboard (low voltage, MB200) | 210
7837260 | DEV padding profile | 45
7840264 | Oil Pump ALEV 35 C 9356 6P 07 00 | 168
7840266 | Oil Pump ATE2V 45C 9355 6P 07 00 | 264
7841622 | Circuit Board (LON, IU100-B10) | 237
7841821 | Flow Limiter 10 l/min | 12
7841848 | Coding Plug 2586:0202 | 26
7842957 | Hydraulic Return Unit | 402
7844793 | Form hose HR | 37
7847354 | Burner Mounting Flange Assly WB1B | 182
7855179 | Cold Water Inlet 1/2 x 105,5 | 29
7855185 | Elbows 22 x 3/4 x 56 | 20
7863495 | Controller VBC138-A60.2xx | 527
7863496 | Controller VBC138-A10.2xx | 571
7863510 | Coding Plug 2A07:0204 | 39
7865450 | Controls Board CU404 | 237
7867180 | Burner Tube | 124
7868920 | Display module 7 segment S1 | 45
7870851 | Ignition Electrode Blk CM2 186-311 v3 | 62
7874936 | Circulation pump W-HE 180 SC | 249
7874973 | Cable harness extra low voltage | 42
7875885 | Circulation pump W-HE 130 EC 0-10V | 527
7883020 | PCB VBC132-D80.1 | 520
7890374 | Display module 7 segment S1 | 45
7810148 | Ionization Electrode, VEI/II VGA/VG | 41
7810656 | Graphite Gasket | 30
7815864 | Bolt B 12 h11 x 70 | 12
7815971 | Ignition electrode ZT930 | 123
7817528 | Set of Heating Connections | 115
7817696 | Matrix Burner Mesh WB2-44/60 r | 805
7818165 | Air Pressure Switch Connection pipe | 11
7819529 | Diaphragm Safety Valve (PRV) | 41
7819549 | OLD Sealant (Tube 80g) 7819549 | 14
7820053 | Pack of small parts f. Matrix Burner | 49
7820067 | Set of Tubes VMIII | 27
7820084 | Air Pressure Monitor w. Conn. Lead | 98
7820128 | Gasket, Assortment ½",¾" WB2A / CPK | 14
7820145 | Coding Plug 1041 GC1/GW2 CM2 | 19
7820303 | Rope Gasket fibreglass 20 x 15 l=4000 | 83
7820810 | Insulation Block VM3 80+105kW | 162
7820851 | Gasket GF 16 x 12 l=1000 VR1/VR2/VB2 | 30
7820854 | Packing GF 16 x 12 l=4000 | 49
7820907 | Gasket 235 x 330 x 5 | 45
7822118 | Grounding Electrode, VGA/VG | 37
7822205 | Nozzle 0,65 Gph 60° SR Danfoss | 18
7822783 | Burner gauze assembly | 124
7822804 | Expansion vessel 10L | 126
7823033 | Circuit Board (LON Module Adaptor) B2xx | 63
7823072 | Circuit Board, VR20 u | 298
7823849 | Wärmetauscherhalterung-Satz | 19
7823869 | By-pass / Overflow Valve | 64
7823981 | Circuit Board (230V pwr supply) dnu | 195
7825043 | Ignition EBIM | 70
7825182 | Vitotronic 200 H01 WB2B | 468
7825549 | Cover connection compartment | 15
7825700 | Set of clip nuts (2 pcs) | 6.7
7826384 | Harness X8/X9/Ioniz. B2HB 160/199 | 63
7827569 | Centre section | 921
7827941 | Press. Bypass Valve, HDS 20-230 B2TB | 27
7828339 | Thermal insulation ring | 65
7828754 | Flow Regulator (WHT/BRN), Type A 14L CPK | 21
7828793 | Thermal insulation | 59
7828981 | X20 cable Harness V111 | 27
7831171 | Hydraulics, system GB | 375
7831343 | Gas connection pipe | 57
7831351 | Wall bracket | 26
7831401 | X20 cable Harness V111 | 21
7831402 | Connection line for gas valve 35 | 8
7831452 | Seal/gasket 50 x 74 x 1,5 | 20
7831618 | Locking pieces left and right | 15
7833208 | Coding plug 2019:0306 | 26
7833428 | Harness X8/X9/Ioniz. B2HB 160/199 | 63
7833654 | Vorderblech | 191
7835050 | Vent Pipe Adaptor 110/150 B2HA 285-530 | 80
7835168 | Flapper B2HA 399/530 | 38
7835170 | Burner Tube, NG/LP B2HA 399/530 | 556
7835408 | Exhaust seal PPS exhaust system 250 | 39
7836209 | Turbulator Disc B2HA 160/199 | 35
7837015 | Coding Plug 1040:02 | 19
7837016 | Coding Plug 1041:02 | 19
7837647 | Basic circuit board MB201 - GC-B / GW-B | 237
7838577 | Cable harness 100/35/54/earth | 55
7839971 | Ignition electrode block | 40
7841672 | Gasket set G20/G31 24kW | 26
7843045 | P-Trap B2HB 160/199, B2HA 285-352 | 41
7844677 | Harness X21 B1HA/B1KA | 8.1
7844804 | Anschlusswinkel HR | 37
7858048 | Air Pressure Monitor D=4mm | 126
7858808 | HMI Mounting Bracket | 49
7859133 | Gas Isolation Valve | 57
7863509 | Coding Plug 2A06:0104 | 39
7863995 | Automatic burner control VUC310-C01.005 | 336
7867378 | Jack plug-in terminal | 16
7868450 | Pack of Seals 050 fitting pack | 5.9
7874084 | Cable harness on/off switch | 15
7874926 | P-Trap (Siphon) | 16
7875036 | Control Housing SE | 39
7875253 | Circulation pump | 281
7875582 | Inspection Cover (w Spring Clip/Plug)CI2 | 29
7876110 | Control VBC135-A30.2xx inc. Coding Plug | 571
7174718 | Input Module 0-10V u | 297
7223827 | Adhesive, Contact Cement VD2 125-1080 | 26
7314413 | Gasket GF (3x116mm) VB2/VR1/VR2 | 8.1
7810029 | Plastic Hose, 800mm VD2A/VD2/CT3 | 5.9
7810589 | Ignition Electrode VG/VGA | 39
7814596 | Supply Main | 38
7814726 | O-Ring for Mixing valve 3+4 1/2" | 4.3
7815480 | Fan wheel D=200 x 62 | 99
7815534 | Air Vent wo Shut-off, R 3/8" Type 62 | 17
7815726 | Nozzle 1,75 Gph 60 deg S | 17
7817919 | Rebuild Kit (Suntec) VEM/VEC r | 29
7818682 | Seal System D125 sw | 16
7818907 | Oil filter insert Siku 25-40µm yellow | 6
7819560 | Isolation block upper | 780
7819944 | Adjustment module | 45
7820044 | Door Insulation Block - top VD2/RK4/RL4 | 409
7820059 | Cable Stack MPA51 | 12
7820072 | Gas Valve CG 225 | 936
7820140 | Coding card 1001 | 26
7820146 | Coding Plug 1042 | 26
7820270 | Seal kit | 13
7820806 | Gasket GF, 8x4000mm RL5/VD2 | 48
7822305 | Oil burner nozzle 0,60 Gph 80 ° S 35kw | 41
7822734 | Boiler Connection Grommets | 19
7822743 | Vent Pipe Adaptor 80/125 B2HB 160/199 r | 52
7822789 | Flapper (air/fuel) ru | 35
7822801 | Return pipe | 38
7822932 | O Ring Kit | 20
7823106 | connecting hose MAG | 27
7823854 | Anschlusswinkel HV | 113
7823870 | (MTO) Grommets | 41
7823871 | Seal kit | 33
7824250 | Boiler Door Gasket CM2 186-311 | 33
7825031 | Acc Pack Shroud Fixing Vitocrossal | 12
7825065 | Gas valve VR420 | 988
7825701 | Interlocking Type Connector Kit | 6.7
7826151 | Burner gasket set | 47
7826216 | O-Ring 9.6 x 2.4 (5 PC) | 12
7826386 | Harness X8/X9/Ioniz. B2HB 160/199 | 75
7826448 | Non Return Valve D=80 L=305 | 264
7826475 | fastening elements | 31
7826519 | Burner door | 134
7826537 | Gas pipe | 51
7826643 | Flue gas Seal Vitoplus | 30
7826705 | Nozzle 1.10 Gph 80° S LE Danfoss | 41
7827946 | Clip D = 18 (5 pce) | 11
7828656 | Black Hood for Roof Duct | 56
7828758 | Clip D=8 (5 pieces) | 26
7828759 | Clip D=10 (5 pieces) | 19
7828763 | Clip SIV spec.(Set of 5) CPK | 63
7828888 | Gas Fan G3G250 | 2493
7831028 | Radial Fan, RLS154 (wo electr) WB2A-60 | 505
7831033 | Radial Fan RLS154 49kW w/o electronic | 476
7831035 | Radial Fan RLS154 WB3A 26kW | 621
7831350 | Venturi Extension | 57
7831624 | Trap | 21
7832001 | Gasket (Fan G3G200) CM2 400 / CA3 | 38
7832743 | Oil firing unit LMO 14.111C2V | 124
7833699 | Controller carrier | 63
7833880 | Coding plug 2319:0101 | 19
7835644 | Clip Hinge | 12
7836468 | Gasket, burner gauze assembly | 23
7836573 | Sealing plug for boiler connection piece | 12
7836840 | Harness X8/X9/Ioniz. B2HB 160/199 | 63
7837252 | Circuit pump VIUP 15-40 | 225
7839169 | Burner Tube w Gasket CM2 620 | 1700
7839481 | Nozzle 0.32 Gph 80° H V | 41
7841222 | Coding plug 241A:0101 | 26
7841632 | Automatic Firing Device VUC310-C01.002 | 336
7841764 | Cylinder burner gauze assembly | 70
7841823 | Flow limiter 14 l/min | 12
7842083 | Coding Plug 2588:0203 | 26
7842522 | Coding 201C:0208 | 31
7842956 | Hydraulic return unit 33kW GB, FR, RO | 375