## Sheet1
Product No | Description | Rate
BI1001101 | DHW Exchanger Adv+ / Inovia 25 | 82.0811
BI1001102 | DHW Exchanger Adv+/Inovia | 92.3233
BI1001103 | By-Pass Pipe | 16.0965
BI1001104 | DHW Pres Switch Pipe Fix Clamp | 1.8301
BI1001105 | Flat Gasket 1" | 0.5292
BI1001106 | Flat Gasket 1/2" | 0.5292
BI1001107 | Gasket 1/4" for Gauge | 0.5292
BI1001108 | Flat Gasket 3/4" | 0.5292
BI1001109 | Gasket 3/8" for NTC Probe | 0.5292
BI1001110 | DHW Press. Switch Pipes Fixing | 0.84893
BI1001111 | By-Pass Pipe Fixing Fork | 8.3129
BI1001112 | 3 Bar Safety Valve / PRV | 18.3677
BI1001114 | Flow Limiter 12L | 24.9055
BI1001115 | Bypass Gasket 1.78 X 12.42 | 0.69458
BI1001116 | O-Ring 1.9 X 4.9 DHW Press | 0.5292
BI1001117 | NTC Temperature Probe (Green) | 26.0631
BI1001122 | Water Pressure Switch (0.5BAR) | 27.1436
BI1001123 | M 6 X 8 Screw | 0.84893
BI1001125 | Screw M5X16 Hexagon Socket Cap | 0.47408
BI1001127 | Safety Valve Connection | 4.9943
BI1001128 | O-Ring 1.78 X 20.35 | 0.69458
BI1001129 | O-Ring 1.78 X 14 | 0.69458
BI1001130 | O-Ring 2.62 X 20.63 | 0.7497
BI1001131 | O-Ring 1.78 X 15.6 | 0.69458
BI1001503 | Group DHW Outlet/CH O-Ring Set | 52.6775
BI1001505 | DHW Filter & Press Reduc Valve | 37.6063
BI1001507 | DHW/CH Return Group Kit | 235.8027
BI1002101 | Pump for Prisma/Gaia/Riva | 179.4319
BI1002104 | Main Exch. 24KW Inlet Pipe | 30.1093
BI1002106 | Main Exch. 24KW Outlet Pipe | 32.612
BI1002108 | Air Drainage Valve Pipe | 16.8683
BI1002109 | Expansion Vessel Pipe | 15.7878
BI1002110 | Expansion Vessel Riva / Gaia | 83.6908
BI1002111 | Air Purger Valve (AAV) | 21.168
BI1002113 | Grommet Seal MFS | 4.3108
BI1002115 | Grommet Seal | 1.9735
BI1003101 | 13 Ramps 24KW Burner | 89.7215
BI1003509 | LPG Conversion Kit M96 | 21.3334
BI1004101 | Nut 1/2" For Fittings Pack | 2.1389
BI1004102 | Nut 22MM Union 3/4 | 2.646
BI1004111 | DHW Pipe | 8.809
BI1005105 | OBSOLETE | 0
BI1005502 | Knob Prisma (Dark Grey) | 3.1311
BI1005503 | Knob for Riva (Light Grey) | 3.1421
BI1006105 | Magnet | 7.9821
BI1006501 | OBSOLETE | 0
BI1011101 | Plug | 3.6383
BI1011102 | DHW Pressure Switch Membrane | 10.6943
BI1011103 | CH Pressure Switch Membrane | 7.9159
BI1011104 | Drainage Valve 1/4" | 8.9964
BI1011105 | Microswitch Box Fixing Clip | 1.6427
BI1011106 | 5 X 10 Screw | 0.84893
BI1011107 | 2.62 X 23.47 O-Ring | 1.6427
BI1011108 | M 2.9 X 13 Screw | 0.84893
BI1011109 | Screw M4 X 12mm S/S | 0.84893
BI1011110 | CH Pressure Switch Spring | 7.949
BI1011111 | CH Pressure Switch Disc | 9.0846
BI1011112 | 1.9 X 2.6 O-Ring | 0.5292
BI1011114 | DHW Pressure Disc | 14.2333
BI1011116 | Bush for Diverter Valve | 3.3296
BI1011117 | 2.7 X 13.6 O-Ring | 0.84893
BI1011118 | Aluminium Washer | 0.51818
BI1011119 | DHW Manifold | 127.868
BI1011501 | By-Pass Kit | 8.4121
BI1011502 | Microswitch Guide Bush | 14.3325
BI1011503 | DHW/CH Flow Group Kit | 205.1532
BI1011504 | Directional Valve Actuator Kit | 75.0362
BI1011505 | Microswitch Kit | 19.0512
BI1011506 | CH Flow Group Kit SER | 167.1059
BI1013101 | Gasket For Gas Valve VK4105 | 2.0507
BI1013102 | Detection Electrode | 12.8111
BI1013103 | Ignition Electrode Right | 14.1451
BI1013104 | Ignition Electrode Left | 13.682
BI1013107 | Gas Valve Outlet Pipe | 26.3057
BI1013108 | Gas Valve VK105 Honeywell | 210.9524
BI1013110 | Tapping Screw ISO NO8B 42 X 95 | 0.50715
BI1013111 | M 4 X 8 Screw | 0.45203
BI1013112 | M 3.9 X 9.5 Screw | 0.50715
BI1013113 | M 4 X 10 Screw | 0.55125
BI1013114 | Screw M4 x 8mm | 0.55125
BI1013115 | Tapping Screw 3.5 x 9.5 Pan | 0.0441
BI1014102 | 15 D Pipe | 4.9833
BI1014103 | 3/4" Square Gas Cock | 27.1436
BI1014104 | OBSOLETE | 0
BI1014106 | 115 D Pipe (Elbow) | 9.6469
BI1014108 | 3/4" Cock Without Lever | 26.1844
BI1014111 | OBSOLETE | 0
BI1014112 | OBSOLETE | 0
BI1015105 | AE-SE Control Panel | 18.3787
BI1015112 | OBSOLETE | 0
BI1015116 | M 4.2 X 16 Screw | 0.5
BI1015122 | Protective Cap | 1.3451
BI1015501 | OBSOLETE (SEE BI1125502) | 0
BI1016101 | Air Intake Twin Kit Gaskets | 9.9556
BI1016102 | OBSOLETE | 0
BI1016104 | Flue Kit Gasket (Black) | 13.9687
BI1016105 | Air Pressure Switch 28KW | 51.7955
BI1016106 | Air Pressure Switch 24KW | 51.7955
BI1016107 | 240 L Silicone Pipe | 6.9237
BI1016108 | Fan 24KW Prisma/ Riva /Gaia | 158.2418
BI1016109 | Fan 28KW Prisma/ Riva /Gaia | 163.5559
BI1016117 | Window Gasket | 4.8951
BI1016502 | Flue Hood 28KW | 100.6031
BI1016503 | Sealed Chambers Seals Kit 24 | 18.2354
BI1016504 | Sealed Chambers Seals Kit 28 | 23.0864
BI1035101 | Power Supply Cable | 24.9055
BI1035102 | Earth Wiring | 2.657
BI1036101 | APS Test Point Cap | 17.6841
BI1036102 | 24KW Air Pressure Switch | 51.7955
BI1036103 | 28KW Air Pressure Switch | 51.7955
BI1036106 | Glass for Sealed Chambers (Sq) | 9.6469
BI1036108 | Fan Venturi | 9.1949
BI1045110 | Gaia Control Knob | 3.1311
BI1045122 | Mechanical Clock for Gaia | 94.6717
BI1045133 | Main PCB Prisma/ Riva /Gaia | 175.7275
BI1061102 | Giannoni Flow Switch | 83.2057
BI1066103 | Pin for Door | 0.882
BI1084100 | 3/4 Square Gas Cock | 29.3927
BI1084101 | 1/2 Square Domestic Water Cock | 28.224
BI1084105 | Tap 3/4 Ch | 32.8325
BI1084107 | Pipe 15mm DHW (Straight) | 5.9204
BI1084109 | Pipe 15mm DHW (Bent) | 10.8817
BI1084110 | CH CONNECTION PIPE | 9.8343
BI1084111 | PIPE 22MM GAS | 10.3415
BI1084113 | Boiler Hanging Bracket | 24.9716
BI1091102 | FLOW LIMITER 10 LTRS | 13.2741
BI1091103 | FLOW LIMITER 12 LTRS | 13.2741
BI1091104 | D.H.W Flow Switch | 28.4886
BI1091502 | Magnetic Flow Switch + Filter | 50.4284
BI1093107 | Gas Valve on operator coils | 47.6611
BI1101101 | 3 Way-Valve Clip | 1.1356
BI1101102 | 3 Way Valve Motor | 72.7209
BI1105108 | THERM.BULB FIXING CLAMP | 0.6615
BI1105500 | Temperature Pressure Gauge | 45.0592
BI1123101 | Left Ignition Electrode | 14.4979
BI1123102 | Detection Electrode | 12.8111
BI1123103 | Right Ignition Electrode | 14.4979
BI1124100 | CH Connection Pipe | 10.3745
BI1124102 | Pipe 15mm Dia (bent) DHW | 9.1949
BI1124103 | Pipe 15mm Dia (Straight) D.H.W | 7.5852
BI1124104 | Bracket for HE Boilers | 32.0938
BI1125502 | Ignition Card Kit | 249.1209
BI1131100 | 3 Bar Safety Valve | 20.0655
BI1131101 | By Pass Pipe | 20.1647
BI1131102 | Safety Valve Connection Pipe | 10.8817
BI1131106 | Safety Valve Connection Pipe | 8.7318
BI1131107 | Screw M5 X 25 Hexagon Socket | 0.55125
BI1131501 | Central Heating Return Kit | 112.9291
BI1141500 | DHW/CH Flow Group Kit | 150.2046
BI1141501 | Diverter Valve Kit | 70.0198
BI1141502 | Diverter Valve for Parva SR | 88.4756
BI1141504 | Flow Group Kit | 150.2046
BI1141505 | By Pass Kit | 8.4121
BI1161100 | DHW Exchanger 32KW | 113.359
BI1164101 | Pipe 15mm Dia (bent) D.H.W | 10.9919
BI1164102 | Pipe 22mm Dia Gas And C.H Flow | 17.5518
BI1164103 | Pipe 15mm Dia D.C.W | 20.2199
BI1164104 | C.H Connection Pipe | 22.1713
BI1164105 | Filling Loop Double Check Valv | 29.2824
BI1164106 | OBSOLETE | 0
BI1164107 | OBSOLETE | 0
BI1165101 | M3.5 X 16 SCREW (M110) | 0.41895
BI1165110 | LOCKOUT LAMP & RESET BUTTON | 11.1463
BI1165112 | Fuse 2 AF 250VAC 5x20 | 0.7497
BI1171100 | M90"R" Return Group Kit | 58.3112
BI1171101 | M90"R" Flow Group Kit | 76.4694
BI1171103 | C H Flow Group System Boiler | 83.349
BI1171105 | Return Group HE ISO Advance SR | 117.8352
BI1171106 | By Pass pipe for HE 24 Advance | 25.567
BI1172100 | 24KW Main Exchanger | 210.4121
BI1172101 | Fork for Main Exchanger Pipe | 3.2854
BI1172102 | Fork for Overheat Thermostat | 5.8322
BI1172103 | Expansion Vessel | 65.2239
BI1172105 | Overheat Thermostat | 15.7878
BI1172107 | Main Exchanger Outlet Pipe | 40.8587
BI1172108 | Main Exchanger Inlet Pipe | 25.0157
BI1172109 | Expansion Vessel Connect Pipe | 11.9952
BI1172110 | Pump Connection Fork | 19.2497
BI1172111 | Automatic Air Purger Valve | 25.4457
BI1172112 | Pump Gasket Rear | 2.5578
BI1172113 | Pump Gasket Front | 2.4145
BI1172115 | Screw for HE ISO 24 Advance | 0.84893
BI1181100 | Safety Valve Bar | 22.3918
BI1181101 | Fork for PRV | 7.1442
BI1181102 | O-Ring 2.62 x 15.08 | 2.2932
BI1181103 | Fork for Mag Flow & Filter Kit | 1.8191
BI1181104 | Return Group Plug NTC | 8.4893
BI1181105 | Fork for Return Valve | 1.4002
BI1181106 | Filter | 9.9666
BI1181107 | Fork for Return Valve | 10.8927
BI1181108 | O-Ring 1.78 x 12.42 | 2.1278
BI1181110 | O-Ring 1.78 x 10.82 | 1.3561
BI1181112 | O-Ring 2.62 x 17.13 | 2.0947
BI1181114 | Pipe Connection CH | 8.379
BI1181116 | Reed Fixing Clip | 1.4333
BI1181117 | Return Group Plug | 5.6779
BI1181122 | DHW Exchanger Basica 24c | 77.6932
BI1181500 | D.H.W Flow Switch & Filter Kit | 21.3665
BI1181501 | Drainage Valve | 7.497
BI1181507 | Filling Group Kit | 46.7791
BI1182100 | O/Heat Stat Fixing Clip | 0.9702
BI1182101 | OBSOLETE | 0
BI1182102 | Main Exchanger 28S | 263.6078
BI1182103 | OBSOLETE | 0
BI1182104 | OBSOLETE | 0
BI1182105 | Expansion Vessel | 61.5085
BI1182106 | Main Exchanger Connection Clip | 1.4884
BI1182108 | O-Ring 1.78 x 7.66 | 0.76072
BI1183101 | Gas Pipe to Manifold | 8.6326
BI1183103 | Gas Manifold with Injectors | 56.4921
BI1183105 | Gas Manifold with Injectors | 48.929
BI1193102 | 32KW Left Ign Electrode | 14.0679
BI1193103 | 32KW Right Ign Electrode | 14.0679
BI1193104 | 32KW Detection Electrode | 12.4252
BI1193105 | SIT 845mm Gas Valve | 128.5736
BI1193109 | Overheat Stat Riva Plus 24kw | 16.7911
BI1193110 | Overheat Stat Riva Plus 28kw | 9.4043
BI1193112 | Gas Manifold NG M296.28SM/C | 47.4626
BI1193500 | 32KW Nat Gas Conversion Kit | 21.9508
BI1202101 | OBSOLETE | 0
BI1202102 | OBSOLETE | 0
BI1202104 | Main Exchanger Outlet Pipe | 43.7803
BI1202105 | Gasket 3/8 for Exp Vessel | 0.60638
BI1206118 | Glass for Sealed Chamber | 9.3933
BI1212107 | Automatic Air Purger Valve | 22.2485
BI1212108 | Pump Gasket | 14.9499
BI1212110 | Main Exchanger Outlet Pipe | 16.1847
BI1212111 | Expansion Vessel Con Pipe | 44.6954
BI1212112 | O-Ring 17.04 x 4.00 | 0.72765
BI1213109 | Injector Pack for M296 24 & 28 | 29.1722
BI1222101 | Pump and Jolly Valve M90 | 220.1362
BI1222102 | M90 Motor Pump | 198.913
BI1223100 | Combustion Chamber Insulating | 38.2788
BI1223101 | BURNER M110.24SM/C | 83.1175
BI1223102 | BURNER M110.32SM/C | 83.1175
BI1223103 | Detection Electrode Gasket | 3.9359
BI1223104 | Detection Electrode | 24.4645
BI1223109 | Natural Gas Restrictor | 21.9508
BI1223111 | Gas Valve for Riva Advance | 158.297
BI1223113 | Fan M110 Range | 223.146
BI1223114 | Spark Cable Ignition Electrode | 21.7523
BI1223115 | Ignition Electrode Gasket | 4.1674
BI1223116 | Ignition Electrode M110 | 39.7672
BI1243100 | Gas Valve Honeywell VK4105M | 177.5356
BI1243500 | LPG Conversion Kit 32 HE | 21.9508
BI1251501 | Flow Group Kit M110B | 193.2021
BI1251502 | Flow Group Kit M110 | 262.2296
BI1253100 | Combution Chamber Gasket | 15.2586
BI1253101 | Insulating Panel Holder | 3.6713
BI1253102 | Air - Gas Gasket | 13.9687
BI1253103 | 5 X 14 Screw | 0.882
BI1253104 | Air Hose for Band A Boiler | 35.8643
BI1253105 | 2.62 X 22.22 O-Ring | 4.9833
BI1253108 | Gas Restrictor M110.32SM | 11.014
BI1253109 | 400L Silicone Pipe (M110) | 2.5688
BI1253110 | M5 X 10 Screw | 0.68355
BI1253111 | Air/Gas Blending Device 24SM/C | 42.5014
BI1253112 | Air/Gas Blending Device 32SM/C | 42.5014
BI1253113 | OBSOLETE | 0
BI1253114 | 3.53 X 61.91 O-Ring | 1.2789
BI1253115 | Air Hose Clamp | 6.9678
BI1253116 | Connection Spring (M110) | 0.49613
BI1256101 | 350L Silicone Pipe | 3.2854
BI1256102 | Fan 28S (From March 2000) | 133.7663
BI1256114 | Air Pressure Switch M90.28 | 63.7576
BI1262100 | Expansion Vessel | 93.4038
BI1262101 | OBSOLETE | 0
BI1262102 | OBSOLETE | 0
BI1262103 | OBSOLETE (SEE BI1552100 ) | 0
BI1262104 | Flue Thermostat | 46.3381
BI1262105 | Expansion Vessel Connect Pipe | 16.9895
BI1262106 | OBSOLETE | 0
BI1262107 | Cond Heat ExchangerOutlet Pipe | 19.8009
BI1262108 | Condensing Ht Exchanger Inlet | 29.4478
BI1262109 | Condensing Ht Exchanger Inlet | 20.5726
BI1262110 | Condensate Discharge Pipe | 17.7723
BI1262112 | O Ring Gasket 2.62 x 17.86 | 0.72765
BI1262113 | O Ring Gasket 2.62 x 9.92 | 0.72765
BI1262114 | O Ring Gasket 1.9 x 16 | 0.6615
BI1262116 | Pump Connection Fork | 1.7309
BI1262117 | Connection Spring | 0.87098
BI1262118 | Condensate Trap | 48.3446
BI1262119 | OBSOLETE | 0
BI1262120 | Fork for AAV | 5.8102
BI1262128 | Condensate Connection Hose | 7.7395
BI1262130 | OBSOLETE | 0
BI1271100 | By Pass Pipe | 26.4159
BI1271101 | DHW Flow Switch | 28.4886
BI1271501 | Magnetic Flow Switch & Filter | 50.4284
BI1271502 | Return Group Kit | 103.3594
BI1272100 | Pump Comp from 024600604 M90E | 227.8647
BI1272102 | Main Exchanger inlet pipe from | 19.867
BI1272103 | Expansion Vessel Conn Pipe | 15.424
BI1273100 | Air Box (M110) | 53.78
BI1273101 | Air Box (M110.32) | 53.78
BI1273102 | Gas Pipe Fixing Fork (M110) | 7.1663
BI1273104 | O-Ring Gasket (M110) | 0.87098
BI1273107 | M110.24SM/E Gas Restrictor | 21.9508
BI1273109 | M110.32SM/E Gas Restrictor | 21.9508
BI1282100 | MANUAL BLEED VALVE CONNECTION | 33.2073
BI1282101 | Condensing Heat Exchanger | 598.007
BI1282102 | Condensing Heat Exchanger | 683.0098
BI1282105 | Outlet Pipe (M110) | 41.3768
BI1282109 | M6 NUT (M110) | 2.1389
BI1282112 | Connection Spring | 0.7497
BI1291100 | Delivery group plug | 11.2014
BI1291102 | Micro cover | 8.2136
BI1291107 | Microswitch Kit | 13.682
BI1291108 | 3 Way Valve Motor | 47.8485
BI1291109 | OBSOLETE | 0
BI1291110 | Diverter val actuator f.spring | 2.2932
BI1291115 | Main Flow Switch Membrane | 10.143
BI1291500 | C.H Pressure Switch Membrane | 17.3864
BI1291501 | Bypass Kit | 12.8993
BI1291502 | M96 Shutter Kit For 3Way Valve | 8.798
BI1293100 | M110B.24KW Burner | 160.3476
BI1293101 | M110B.32KW Burner | 160.3476
BI1293102 | Ignition Electrode | 60.7698
BI1293103 | Detection Electrode | 34.861
BI1293104 | Gas Valve M110B | 187.3699
BI1293105 | OBSOLETE | 0
BI1293106 | Combustion Chamber Ins Panels | 69.0055
BI1293107 | Combustion Chamber Gasket | 13.8805
BI1293108 | Combustion Chamber Lip Gasket | 29.7785
BI1293109 | Electrode Gasket Det/Ign | 1.6097
BI1293110 | M4 X 10 Recessed Pan Head Scre | 0.67253
BI1293111 | O-ring gasket 2.63 x 15.88 | 0.94815
BI1293112 | Window Glass | 8.4893
BI1293113 | Window Frame | 6.2181
BI1293114 | Air-gas Gasket | 4.9613
BI1293115 | Gasket Air Hose HE ISO 24 | 10.2974
BI1293116 | Air Manifold | 16.1627
BI1293119 | Inner Combustion Door for Adv+ | 65.4224
BI1293120 | Cover Flange Burner Group | 22.943
BI1293500 | LPG Conversion Kit | 20.705
BI1293501 | LPG Convert Kit M110B.32 Only | 21.3334
BI1295108 | Fuse 3.15 AF | 1.2017
BI1301101 | By-Pass Pipe | 32.0056
BI1301102 | Pump Connection | 31.0795
BI1301103 | Flow Limiter 10 ltrs | 6.2291
BI1301105 | M5 X 55 Hexagon screws soc cap | 0.94815
BI1301106 | Flow Limiter 14 ltrs | 3.947
BI1301108 | Flow Limiter 12 ltrs | 9.9446
BI1301109 | Grommet | 1.4994
BI1301112 | O-Ring Gasket 2.62 x 11.91 | 0.7497
BI1301501 | OBSOLETE | 0
BI1305101 | Full Sequence Control PCB | 147.735
BI1312105 | Ignition PCB Kappa | 191.4712
BI1313100 | Burner Activ A 25C | 82.2686
BI1313101 | Burner Activ A 30C & 35C | 93.514
BI1313102 | Fan - Activa/Inovia Boiler | 208.6481
BI1313103 | Gas Valve | 129.0587
BI1313104 | Detection Electrode | 32.8766
BI1313105 | Ignition Electrode | 32.8766
BI1313107 | Air-Gas Manifold | 73.206
BI1313108 | Air-Gas Gasket | 5.8322
BI1313109 | Electrode Gasket | 2.0066
BI1313110 | Air-Box Assembly Activ A 30c | 50.7481
BI1313111 | Fan Gasket | 2.9216
BI1313500 | LPG Convert Kit ActivA 35c 30s | 21.3334
BI1313502 | LPG Convert Kit ActivA 30c 25s | 21.3334
BI1313503 | LPG Convert Kit ActivA 18S 25C | 21.3334
BI1326100 | SX-DX Side Panel Comb. Chamber | 33.0199
BI1326101 | 24KW Comb. Chamber Front Panel | 37.8929
BI1326105 | SX-DX Side Panel (TILL 06/01) | 54.3753
BI1326107 | Combustion Chamber Rear Panel | 13.9687
BI1326108 | Combustion Chamber Rear Panel | 14.2994
BI1331501 | Return Group | 118.9598
BI1336100 | Front Combustion Chamber Panel | 102.7861
BI1336101 | 24S Flue Hood | 49.4251
BI1336103 | 24KW Fan Seal | 2.8114
BI1336104 | 24KW Fan M90 Range | 114.0977
BI1336105 | 28KW Fan M90 Range | 134.8468
BI1336106 | Flue Restrictor M90 24KW | 6.9237
BI1336108 | Flue Elbow (complete) | 11.6424
BI1336109 | Flue Sampling Point Connection | 5.8102
BI1336110 | Sampling Point Plug | 3.4508
BI1336113 | Flue Elbow Clamp | 5.8322
BI1336114 | Screw 8.8 X 13mm AB Self Tap | 0.55125
BI1336115 | Screw 4.2 x 13mm AB self Tap | 0.51818
BI1336116 | Fan M90.28 | 138.9922
BI1336500 | Sealed Chamber Gaskets Kit | 13.1859
BI1341107 | Air Hose Wrapper | 14.6412
BI1342100 | Flue Temp Probe NTC | 26.0631
BI1346500 | Side Case Panel | 37.055
BI1346501 | Front Case Panel | 46.9114
BI1351100 | Flow Group DHW | 61.9385
BI1351101 | M5 x 35 Hexagon Socket Cap | 0.78277
BI1351102 | O-Ring 2.62 x 15.54 | 4.9833
BI1351103 | Flow Group Kit DHW Plug | 24.255
BI1351104 | Fork P21.6 for M96A | 3.6713
BI1351105 | OBSOLETE SEE BI1262112 | 0
BI1351106 | Threaded Connection for DHW | 24.4093
BI1351107 | Tapping Screw 5 X 12 | 1.4663
BI1351108 | Diverter Valve Actuator | 42.1817
BI1351109 | Diverter Valve Kit | 46.8452
BI1351111 | Actuator Fixing Spring | 8.0262
BI1351112 | OBSOLETE | 0
BI1351113 | O-Ring 1.90 x 8.90 | 1.1135
BI1351114 | Threaded Connector for CH | 9.8123
BI1351115 | Clip Fork | 4.0793
BI1351116 | Diverter Valve C.H | 72.5004
BI1351117 | By-Pass Kit | 28.224
BI1351118 | Primary Circuit Press Switch | 22.943
BI1355102 | Panel PCB Holder | 36.1289
BI1355106 | Rivets for Riva Clock | 0.87098
BI1356100 | Front Case Panel | 30.5833
BI1363100 | Air Hose | 13.1859
BI1363101 | Air Elbow | 5.2038
BI1363103 | Ignition Electrode | 32.7112
BI1363500 | LPG Conversion Kit 30/35KW | 20.705
BI1365101 | Supply Cable For Riva Boiler | 28.3122
BI1365102 | Temperature Probe Cable | 19.7017
BI1365103 | Fan-Gas Valve-Pump Cable | 39.5798
BI1366100 | Venturi | 11.3337
BI1366101 | Flue Elbow Gasket | 5.1377
BI1366102 | OBSOLETE | 0
BI1366103 | 28 Kw Fan (New) | 138.9922
BI1366107 | 28kW Air Press Switch (New) | 63.7576
BI1366114 | Twin Flue Cover Plate | 2.9216
BI1371103 | By-Pass Pipe (Riva+ HE *Sys*) | 25.6111
BI1371105 | Flow Group Kit Plug | 24.8393
BI1376103 | Flue Restrictor D.50 FOR 32kW | 6.9237
BI1376104 | Air Pressure Switch | 47.4847
BI1376105 | Fan M90E 32S | 104.7926
BI1406100 | OBSOLETE | 0
BI1406101 | OBSOLETE | 0
BI1406104 | OBSOLETE | 0
BI1406105 | Sealed Chamber Lid | 49.0061
BI1406106 | Side Case Panel M96.24SM | 62.0267
BI1406107 | Front Case Panel M96.24SM/B | 36.6471
BI1406108 | Flue Hood M96.24SM/B | 81.4196
BI1406111 | Fan Inlet Gasket | 9.8784
BI1406114 | Air Deflector Right | 29.988
BI1406115 | Air Restrictor D 50 | 13.7372
BI1406116 | Air Restrictor D 55 | 13.7372
BI1406118 | Combustion Chamber Front Panel | 60.6596
BI1406119 | OBSOLETE | 0
BI1406120 | Fan Holder Bracket | 12.0283
BI1406121 | Flue Hood M96 24SM/C | 79.6667
BI1406122 | Flue Hood M96. 28SM/C 32sm/c2 | 70.4498
BI1406500 | Sealed Chamber Gaskets Kit | 11.1463
BI1411501 | OBSOLETE | 0
BI1416100 | Side Case Panel M96.24SM/D | 56.8008
BI1416101 | Front Case Panel M96.24SM/D | 47.8816
BI1416102 | Front Case Panel for Riva HE | 64.3419
BI1416105 | Flue Sensor | 50.252
BI1416106 | M110 Sealed Chamber Kit | 42.6337
BI1416107 | M110 Front Case Panel | 37.2535
BI1416108 | Flue/Condensate Drain Gasket | 24.9055
BI1416109 | OBSOLETE | 0
BI1421100 | Flow Group DHW M96A.MK2 | 75.8079
BI1421101 | Flow Group CH M96A.MK2 | 109.8311
BI1426101 | Front Panel (M110) Garda | 37.2535
BI1426107 | Washer (M110) | 1.3781
BI1426108 | M5 X 16 Screw (M110) | 1.8081
BI1426109 | Insulating Panel (M110) | 25.1811
BI1431100 | Divertor Actuator | 48.6203
BI1431101 | Primary Circuit Pressure Swich | 47.5288
BI1432100 | M110B.24KW Heat Exchanger | 328.2694
BI1432101 | Heat Exchanger M110B.32 & Adv+ | 399.3586
BI1432102 | Flue NTC | 12.9764
BI1432103 | Flue Outlet Adaptor | 7.056
BI1432104 | Flue Outlet Lip Gasket | 8.5885
BI1432105 | Cond Heat Exchanger Fix Clamps | 6.0197
BI1432106 | Cond Heat Exchanger Con Clips | 3.3847
BI1432107 | Cond Heat Exchanger Inlet Pipe | 55.6983
BI1432108 | Cond Heat Exchange Outlet Pipe | 54.9596
BI1432109 | Condensate Discharge Pipe | 10.6171
BI1432110 | Expansion Vessel Pipe HE ISO24 | 18.2684
BI1432122 | Condense Heat Exh Outlet Pipe | 34.2106
BI1441100 | Safety Valve Pipe | 12.4252
BI1441101 | 3 Bar Safety Valve | 17.7944
BI1441102 | Pump Connection for Activa | 27.8492
BI1441103 | Return Group | 58.653
BI1441104 | DHW Flow Switch | 23.9683
BI1441105 | O-Ring 1.78 x 15.60 | 1.4333
BI1441106 | 10Ltr Flow Limiter | 12.5465
BI1441107 | Flat Spring | 3.6713
BI1441116 | 3 Bar Safety Valve | 17.7944
BI1441137 | Pressure Gauge Connection | 3.8036
BI1441500 | Return Group Kit | 129.643
BI1441501 | Magnetic Flow Switch Filter | 54.9596
BI1442100 | Cond Exchanger Outlet Pipe | 32.1158
BI1442101 | Cond Exchanger Inlet Pipe | 42.0824
BI1442102 | Discharge Pipe | 9.8123
BI1442103 | Condensate Trap Holder Bracket | 1.4663
BI1442104 | Condensate Trap | 42.4793
BI1442105 | Condensate Hose | 11.0581
BI1442106 | Spring Mounting Temp Probe | 15.446
BI1442107 | OBSOLETE | 0
BI1442108 | Gasket - Condensing Exchanger | 5.755
BI1442109 | Cond Heat Exch Bottom Cover | 48.3226
BI1442110 | OBSOLETE | 0
BI1442111 | Flanged Nut M5 | 1.8081
BI1442112 | Screw M5 x 16mm | 1.8191
BI1442113 | OBSOLETE | 0
BI1442117 | Flow Temp Probe and Over Heat Stat | 30.859
BI1442120 | OBSOLETE | 0
BI1442121 | OBSOLETE | 0
BI1453102 | Gas Pipe Fixing Fork | 7.3868
BI1453103 | O-Ring 2.62 x 18.72 | 2.6681
BI1462100 | Expansion Vessel | 126.5009
BI1462101 | Condensing Heat Exchanger 25C | 319.0194
BI1462102 | OBSOLETE | 0
BI1462103 | Pump (Complete) | 192.6288
BI1462104 | Condensate Trap | 57.2859
BI1462106 | Lock Nut | 1.8301
BI1462107 | Connection Spring Adv Plus | 0.7497
BI1462108 | Condensate Discharge Pipe | 32.9648
BI1462109 | Pump (Motor) | 172.1995
BI1462110 | Condensing Heat Exchanger Pipe | 36.614
BI1462111 | Screw M5 X12 | 0.7497
BI1462112 | Washer Zinc Plated 5.3 x 10mm | 0.6615
BI1462113 | Coupling Flange | 11.7196
BI1462117 | O-Ring Gasket 2.62 x 44.16 | 2.216
BI1472100 | Complete Pump | 184.0514
BI1475102 | Knob for Parva | 1.4002
BI1475105 | Pin for Knob | 0.7497
BI1475106 | Top Hung Panel | 9.6469
BI1475107 | Fork for Thermo-Manometer | 6.9568
BI1475108 | Temperature Pressure Gauge | 39.8333
BI1475109 | Terminal Block | 6.2181
BI1475110 | Control Panel Plug | 4.3108
BI1475111 | Service Panel Cover | 5.5786
BI1475112 | OBSOLETE | 0
BI1475116 | Main PCB Parva Only | 168.473
BI1475118 | 7 Day Timer (obs) | 96.138
BI1475119 | O-Ring 1.78 x 6.75 | 0.78277
BI1485100 | Fan Cable Upper Section | 34.8831
BI1485101 | Ignition Electrode Cable | 3.9911
BI1485102 | Flame Detect Electrode Cable | 2.7783
BI1485103 | Pump Diverter Valve Cable | 14.2774
BI1485104 | Ignition Device Connect Cable | 7.497
BI1485105 | DHW F/SWITCH +TEMP PROBE CABLE | 19.0953
BI1485106 | CH F/SWITCH + TEMP PROBE CABLE | 20.297
BI1485107 | POWER SUPPLY+ EXTERNAL CONTROL | 16.2288
BI1485108 | Earth Wiring | 5.5125
BI1485109 | Gas Valve Cable | 10.8155
BI1485110 | Fan Cable - Lower Section | 19.8009
BI1485111 | Time Switch Cable | 11.9952
BI1485112 | Parva Fan Cable (Complete) | 32.3914
BI1485114 | Pump Cable | 8.1475
BI1491100 | Flow Group Body Kit | 69.8324
BI1491101 | Service Kit - Inovia/Adv Plus | 62.4566
BI1501100 | Inovia Flow Group Kit CH | 75.7307
BI1503102 | Combustion Chamber Gasket | 7.1111
BI1503103 | Combustion Chamber Lip Gasket | 10.4186
BI1503104 | Burner Door for Advance | 57.4843
BI1503105 | Air-Gas Gasket | 15.1925
BI1503108 | Detection Electrode Advance | 28.3894
BI1503109 | Fan for Advance 25 C | 213.6314
BI1503116 | Fan for Advance Plus 30/35C | 213.6314
BI1505103 | Clock Blank | 4.9943
BI1512102 | O-Ring for Condensate Bottle | 3.8918
BI1512108 | Clip for Condensate Bottle | 1.1576
BI1512110 | Screw M5 x 14 | 0.34178
BI1515100 | Cover Panel | 15.2696
BI1515101 | Knob Riva Compact / Plus | 3.1311
BI1515102 | Control Panel Box Riva Plus | 33.0419
BI1515103 | Control Panel Box Riva Compact | 56.2054
BI1525100 | OBSOLETE | 0
BI1525101 | Time Switch 24hr Electronic | 81.8276
BI1526100 | Sealed Chamber inc Window | 19.9442
BI1535100 | Cover Panel Garda | 11.8849
BI1535101 | Garda Knob | 3.1311
BI1535102 | OBSOLETE | 0
BI1536100 | Air Switch Pressure Test Point | 3.0539
BI1536101 | Flue Outlet Gasket | 5.2369
BI1536102 | Fan Gasket | 4.829
BI1536103 | Air Pressure Switch | 55.8857
BI1536104 | Flue Temperature Probe | 30.2306
BI1536105 | Fan M96A & M296.24SM/C | 75.2787
BI1536106 | Fan M96A.28SM/C | 104.9911
BI1536107 | Fan Holder Bracket | 10.3635
BI1536108 | Flue Hood M96A.24SM/C | 116.4901
BI1536110 | OBSOLETE | 0
BI1536111 | Combustion ChamberPanel 28SM/C | 67.3738
BI1536112 | Air Deflector - Right | 29.988
BI1536113 | Fan M96A.32SM & M296.28SM | 83.9002
BI1536116 | Flue Hood | 76.4253
BI1536117 | Flue Hood | 92.0698
BI1542100 | Pump M96A + Riva Plus HE | 146.7207
BI1542101 | OBSOLETE | 0
BI1552100 | Complete Pump Riva Plus + Adv | 148.8375
BI1552101 | Flue Adaptor for Adv Plus/Inv | 16.0855
BI1552102 | Condensate Discharge Pipe | 9.9115
BI1552103 | Condensate Inlet Pipe | 48.94
BI1552104 | Activa Plus/Inovia Pump | 156.3786
BI1552105 | Cond Heat Exchange Outlet Pipe | 24.8393
BI1556100 | Side Case Panel | 41.5973
BI1556101 | OBSOLETE | 0
BI1556102 | Zinc Washer | 0.34178
BI1556103 | Clips For Front Panel | 8.6767
BI1556105 | Front Panel Activa OV | 315.0835
BI1562107 | Expansion Vessel Pipe | 19.3048
BI1562111 | Expansion Vessel Pipe aft 1217 | 25.8536
BI1562115 | Expansion Pipe | 14.972
BI1562127 | Cond Heat Exc Outlet Pipe | 17.2541
BI1562131 | Main Exchanger Riva Plus 28KW | 210.4121
BI1562132 | OBSOLETE | 0
BI1563100 | Rear Insulating Panel | 33.4719
BI1563101 | Front Insulating Panel | 49.5905
BI1563102 | Burner Advance 25C | 47.2752
BI1563103 | Burner Advance 30/35 C | 51.0237
BI1563104 | Fan for Advance 30/35C | 213.6314
BI1563105 | Gas Pipe Advance 25 C | 18.9851
BI1563106 | Gas Pipe Advance 30/35C | 26.5261
BI1563107 | Screws for Burner on Advance | 1.0915
BI1563108 | Gas Joint | 4.84
BI1563500 | Gas Restrictor NG Adv 25C | 13.5608
BI1563501 | Gas Restrictor NG Adv 30/35C | 13.5608
BI1563502 | LPG Kit Advance 25c | 20.705
BI1563503 | LPG Kit Advance 30/35/25S | 20.705
BI1573100 | Burner Adv Plus 25C | 84.3192
BI1573101 | Burner Adv Plus 30/35C | 84.3192
BI1573102 | OBSOLETE SEE BI1293103 | 0
BI1573103 | Gas Pipe Adv Plus 25C | 33.4829
BI1573104 | Gas Pipe Adv Plus 30/35C | 33.4829
BI1573501 | LPG Conversion Kit Adv Plus 25 | 20.705
BI1573502 | LPG Kit for Adv Plus 30/35c | 20.705
BI1573503 | Gas Restrictor LPG Kit | 20.9475
BI1592113 | Fork | 0.9261
BI1592115 | Primary Pressure Switch | 53.5264
BI1593500 | Gas Restrictor NG | 21.3334
BI1605101 | Control Panel Cover | 8.3239
BI1605102 | External Controls Cover | 30.6385
BI1605103 | OBSOLETE | 0
BI1605106 | Knob for Riva Compact HE | 4.3108
BI1605107 | Hinge Plug (supplied in pairs) | 3.7816
BI1605108 | Cover Panel | 27.5294
BI1605112 | OBSOLETE | 0
BI1615100 | OBSOLETE | 0
BI1615101 | OBSOLETE | 0
BI1615102 | Trap to Earth Wiring | 3.1201
BI1615103 | Flame Detect Electrode Cable | 7.1111
BI1621100 | Fork for Pump | 2.6129
BI1621101 | Safety Valve 3 Bar | 16.2508
BI1621102 | O-Ring 3.53 x 18.64 | 1.2238
BI1621104 | Magnetic Flow Switch & Filter | 27.0113
BI1621105 | Diverter Valve Actuator Basica | 38.6426
BI1621106 | Diverter Val Actuator Fork | 7.508
BI1621107 | Diverter Valve Kit Basica | 44.7284
BI1621109 | By-Pass Kit | 29.8888
BI1621111 | Filter | 1.8853
BI1621112 | DHW Flow Switch | 15.7217
BI1625100 | Control Panel Box M96.24SM/D | 34.9162
BI1625101 | Cover Panel M96.24SM/D | 16.9895
BI1625102 | OBSOLETE | 0
BI1625103 | Time Switch M96.24SM/D | 86.9652
BI1653109 | Gas Restrictor Rinnova 25c | 13.5608
BI1653110 | Gas Restrictor Rinnova 30c 35c | 13.5608
BI1663100 | Front Combustion Ins Panel | 49.5905
BI1663101 | Combustion Chamber Lip Gasket | 14.3105
BI1663102 | Air Gasket | 13.8915
BI1663103 | Flange Burner Door | 64.4963
BI1663104 | Fan - Advance 25c,15/18ov | 219.6401
BI1663106 | Ignition Electrode | 33.6042
BI1663107 | Front Combustion Panel | 50.2409
BI1663108 | Burner Door | 58.9838
BI1663109 | O-ring for Sight Glass | 1.0474
BI1663110 | Window Glass | 9.0846
BI1663111 | Window Frame | 6.6481
BI1663112 | Gas Pipe | 17.651
BI1663113 | Detection Electrode | 25.6111
BI1665100 | Transformer | 52.1703
BI1665103 | M110 Remote Interface Card | 28.1578
BI1665104 | Delayed Fuse 400 MA T | 0.68355
BI1672100 | ERP Pump | 253.2663
BI1675100 | Temp Probe Safety Thermo Cable | 23.4392
BI1675101 | Transformer Cable | 17.8495
BI1675103 | Gas Valve Cable | 18.081
BI1675105 | Pump Diverter Valve Cable | 31.4984
BI1675106 | Power Supply/Safety Cable | 17.0336
BI1675109 | Fan Cable | 15.2035
BI1675110 | SPARK GENERATOR CABLE | 10.7714
BI1675111 | OBSOLETE | 0
BI1675112 | Cable-Power Supply & Ext Contr | 19.9442
BI1682100 | ERP Pump for System Boiler | 253.2663
BI1695101 | Pressure Gauge | 29.2824
BI1713100 | Burner 25c | 75.7197
BI1713101 | Burner 30c 35c | 75.7197
BI1713102 | Fan for Rinnova | 187.3699
BI1713103 | Air Box 25C | 21.5539
BI1713104 | Air Box 30c 35c | 21.5539
BI1713105 | Gas Pipe 25c | 18.6874
BI1713106 | Gas Pipe 30c 35c | 20.286
BI1713107 | Ignition & Detection Electrode | 46.3601
BI1713108 | Gas Valve Gasket | 1.8191
BI1713112 | Gas Valve for Rinnova | 124.0312
BI1713115 | Fan Basica 24 28c | 190.0269
BI1713116 | Fan Basica 32c | 190.0269
BI1713117 | Gas Valve Spacer | 31.6418
BI1715101 | CONTROL PANEL BOX (M110) | 41.4871
BI1715103 | OBSOLETE | 0
BI1715104 | Control Panel Box | 52.6664
BI1715110 | OBSOLETE | 0
BI1752102 | Main Exchanger Outlet Pipe M296 | 54.1769
BI1752103 | Bushes for recouperator | 11.7306
BI1765100 | Fan Cable | 32.5789
BI1765101 | Flame Detection Cable | 8.9303
BI1765102 | Ignition Cable | 7.3647
BI1765103 | Pump,Diverter Valve,Gas Valve | 26.912
BI1765104 | Pump-gas valve cable | 23.0643
BI1765105 | Flow Switches, Temp Probes | 20.297
BI1765106 | Flow Switches , Temp Probes SR | 19.6245
BI1765107 | Power Supply | 20.2199
BI1765108 | Earth Wiring | 3.3847
BI1765115 | Flame Detect Electrode Cable | 2.0507
BI1765121 | Earth Cable | 1.9404
BI1772101 | Safety Thermal Fuse Basica | 27.9484
BI1782101 | Condensing Heat Exchanger 25C | 404.375
BI1782102 | Condensing Heat Exch 30 & 35C | 469.9958
BI1782103 | Flue Temp Probe & Safety Fuse | 40.7264
BI1782106 | Condensate Discharge Pipe | 10.4186
BI1782107 | Condensate Trap | 16.747
BI1782108 | Cond Heat Exch Outlet Pipe 30/35C | 40.0428
BI1782109 | Cond Heat Exch Pipe 25C | 39.5687
BI1782111 | Discharge Pipe Adv Plus/Inovia | 15.5012
BI1801101 | Return Group Kit | 72.4343
BI1801102 | Diverter Valve Actuator | 44.8497
BI1801103 | Diverter Valve Kit | 78.9721
BI1801107 | O-Ring 2.62 x 25.07 | 0.99225
BI1801108 | Plug | 7.8829
BI1801109 | Flow Group Kit CH | 104.8367
BI1801111 | Flow Group CH Basica | 113.1716
BI1801112 | Return Group Basica 24c | 74.0108
BI1805100 | Control Panel Box M110 | 40.4948
BI1805101 | PCB M110.32SM/C | 256.0005
BI1805102 | Spark Generator | 36.1179
BI1805103 | PCB M110.24SM/C | 256.0005
BI1806104 | Side Case Panel | 43.9567
BI1806105 | Front Case Panel Rinnova | 61.1888
BI1806118 | Front Panel Basica | 85.1461
BI1815100 | DHW Flow Switch Cable | 36.1179
BI1816101 | Twin Flue Cover Plate | 0
BI1816102 | Twin Flue Gasket | 0
BI1842100 | Askoll (TACO) Pump | 260.8515
BI1872104 | Expansion Vessel Fork | 2.4806
BI1872111 | O-Ring 3.53 x 12.29 | 1.2238
BI1875101 | Water Group NTC + Modurg Cable | 29.4147
BI1875102 | Pump/Diverter Valve/Gas Cable | 31.8622
BI1885101 | Electronic Regulation PCB | 230.4997
BI1885121 | Control Panel Box M90E | 42.5565
BI1895100 | Fan Wiring Unit + TMX | 27.0443
BI1895105 | Power Supply & Control Cable | 27.4522
BI1895107 | Earth Wiring | 3.7154
BI1901104 | High Head Pump Riva/Gaia | 274.2028
BI1901802 | Flat Gaskets Kit | 26.471
BI1901803 | O-RING KIT | 55.7645
BI1905100 | DHW Flow Switch and Temp Probe | 38.6647
BI1905101 | Pump/Gas Diverter Valve Cable | 35.4123
BI1911103 | OBSOLETE SEE BI1552100 | 0
BI1932103 | 3/4 Flat Gasket Rubber | 3.0098
BI1942100 | Flue Collar Multipoint | 0
BI1942101 | Boiler Frame Multipoint | 0
BI1942102 | Flue Hood Multipoint | 0
BI1942103 | Overheat Stat Multipoint | 0
BI1942104 | Heat Exchanger Multipoint | 0
BI1942106 | Combustion Chamber Multipoint | 0
BI1942107 | Igniter Multipoint | 0
BI1942108 | Burner Multipoint | 0
BI1942110 | Gas Manifold 14L NG | 0
BI1942111 | Gas Manifold 14L LPG | 0
BI1942112 | Gas Manifold 16L NG | 0
BI1942113 | Gas Manifold 16L LPG | 0
BI1942114 | Front Panel Multipoint | 0
BI1942115 | Control Panel Cover Multipoint | 0
BI1942116 | Display PCB Multipoint | 0
BI1942117 | Gas Valve Multipoint | 0
BI1942118 | Water Flow Meter Multipoint | 16.1516
BI1942119 | Water Outlet Plate Multipoint | 0
BI1942120 | Water Inlet Valve Multipoint | 0
BI1942121 | Gas Inlet Valve Multipoint | 0
BI1942122 | Water Outlet Valve Multipoint | 0
BI1942123 | Fan Multipoint | 0
BI1942124 | Input Temperature Sensor Multipoint | 0
BI1942125 | Outlet Temperature Sensor | 0
BI1955100 | M110B.24KW PCB (upto 1013) | 260.0908
BI1955101 | M110B.32KW PCB (up to 1013) | 260.0908
BI1955118 | PCB For M110B 24KW (from 1013) | 253.6191
BI1955119 | PCB for M110B 32KW (from 1013) | 253.6191
BI1965100 | Fan/Temp Probe/Safety Cable | 35.9415
BI1965101 | D.H.W Flow Switch Cable M110B | 19.0292
BI1965102 | Gas Valve Cable | 27.5735
BI1965121 | Fan/ Temp Probes/ Safety Cable | 53.6807
BI1985100 | Sensors Wiring HE | 26.2395
BI2002100 | Cond. Exchanger Advance 25c,15/18ov | 415.2897
BI2012114 | TACO Pump Advance Combi | 253.2663
BI2012115 | See BI2012114 TACO Pump Advance System | 0
BI2015100 | PCB M96A and M96 | 221.2056
BI2015105 | PCB Board for Riva Plus M296 | 169.6748
BI2025100 | Fan Cable M96A + Riva Plus HE | 54.6179
BI2025101 | OBSOLETE | 0
BI2025103 | Pump/DivertValve/GasValveCable | 47.4737
BI2025118 | Fan Cable for Riva Plus | 32.1709
BI2035100 | Main Electronic Control | 164.7686
BI2035101 | Control Panel Electronic P.C.B | 86.9101
BI2035102 | Control Panel Box | 21.9508
BI2035103 | Control Panel Lid | 20.1206
BI2035104 | Control Panel Bracket | 11.7196
BI2035105 | Pressure Gauge Gasket | 1.1025
BI2035106 | Cable Holder | 7.949
BI2035107 | Main Electronic PCB Box | 25.6111
BI2035117 | Control Panel Box | 26.0411
BI2035119 | Electronic Panel PCB | 147.1617
BI2035120 | Auxilary PCB Activa+ & Inovia | 76.3371
BI2035121 | White Facia Inovia | 24.9275
BI2045100 | Electricity Supply & Capacitor | 38.7859
BI2045101 | Sensors Cable Activa up 04/11 | 51.5198
BI2045103 | Earth Wiring | 2.9216
BI2045104 | Time Switch Cable *Dummy* | 18.963
BI2045105 | Dummy Jumper Cable | 4.388
BI2045106 | Main Electronic Control Cable | 13.9577
BI2045107 | Pump Capacitor Activa | 16.7911
BI2065103 | Control Panel Lid | 0
BI2112100 | Condensing Heat Exch Rinnova 30c 35c | 467.5703
BI2112101 | Expansion Vessel Connection Pipe | 21.1019
BI2112102 | Condensing Exch Inlet Pipe | 32.9648
BI2112104 | Pump Complete | 260.8515
BI2112105 | Threaded Connection CH | 14.2553
BI2112106 | Condensing Exch Outlet Pipe 30c 35c | 37.3527
BI2112107 | Condensing Exch Outlet Pipe 25c | 36.3163
BI2112108 | Condensate Discharge Pipe | 7.2434
BI2112118 | Cond Exchanger Basica 32c | 351.9621
BI2145106 | Fuse 3.15 T 250VAC 5x20 | 1.312
BI2175100 | Cable Pump/ D.V/ Gas Valve | 40.3074
BI2175101 | Pump Capacitor Riva + / Inovia | 16.7911
BI2185100 | Flow Switch / Temp Probe Cable | 45.0481
BI2185101 | Pump & Gas Valve Cable *SYS* | 45.0151
BI2195100 | Control Panel Lid | 57.771
BI2195113 | Control Panel PCB Adv Plus | 42.5565
BI2205100 | Sensor Cable ActivA Aft May 11 | 52.501
BI2205101 | Electricity Cable | 56.9772
BI2235112 | Pump Cable Riva + (Check s/n) | 49.6787
BI2235113 | Wiring Loom for Riva Plus Comb | 71.2766
BI2235130 | Pump Cable Riva Plus ERP | 49.6787
BI2265100 | Sensors Cable Inovia & Activa+ | 63.945
BI2265101 | Electricity Supply Cable | 81.1219
BI2265102 | Ignition Electrode Earth Cable | 6.9458
BI2265103 | Input Temp Probe Cable | 15.8099
BI2265104 | Pump Cable Inovia | 40.7594
BI2265105 | Flat Cable to Inovia Aux Board | 22.5572
BI2265106 | Electricity Supply Cable | 52.9641
BI2265107 | Sensor Cable | 65.9736
BI2265112 | Jump Cable | 5.5456
BI2275103 | Cable | 65.9736
BI2275104 | Electricity Supply Cable *SYS* | 41.3989
BI2295106 | Ignition Electrode Cable M96 | 3.8918
BI2385111 | Pump Cable Inovia ERP | 41.3989
BI2385112 | Pump Cable Adv Plus ERP | 51.0678
BI2385113 | Electricity Sup Cable Inovia | 100.5039
BI2395106 | Sensors Cable ( System) | 28.1909
BI2445100 | Main PCB Advance | 183.0922
BI2445102 | Display Board Inovia (Aft s/n) | 147.1617
BI2445103 | Main PCB for Adv/Inovia (S/N) | 164.7686
BI2445104 | Display Board Adv+ (After s/n) | 42.5565
BI2445107 | Pressure Gauge | 26.6144
BI2445108 | Control Panel Lid | 34.1114
BI2515100 | Sensors Cable | 66.1721
BI2515101 | Electricity Supply Cable | 46.3601
BI2515103 | Electricity Supply Cable | 46.3601
BI2515104 | Sensors Cable | 57.0434
BI2515105 | Electricity Supply Cable | 52.0821
BI2535100 | Main PCB for Adv Plus/Inovia | 164.7686
BI2535101 | Main PCB for Advance OV | 164.7686
BI2545100 | Sensors Cable Adv Plus | 57.0434
BI2545102 | Sensors Cable Adv OV | 41.1012
BI2545103 | Electricity Supply Cable Adv OV | 44.3315
BI2605100 | PCB Box Basica | 25.4126
BI2605102 | Keyboard for PCB Basica | 42.5565
BI2605103 | Control Panel Lid | 24.1337
BI2605113 | PCB for Basica Boiler | 176.1795
BI2675101 | PCB Box Rinnova | 25.4126
BI2675103 | Main PCB Rinnova | 176.1795
BI2675104 | PCB Keyboard Lid | 20.2088
BI2675106 | Control Panel Lid | 40.7374
BI2675108 | PCB for all Rinnova Models | 176.1795
BI2685109 | Sensors Cable | 72.5004
BI2685110 | Electricity Supply Cable 230v | 73.647
BI2685111 | Electricity Equipment Cable 230v | 50.263
BI2685112 | External Controls Cable | 27.6728
BI2685113 | Electrode Cable | 24.5637
BI2685114 | Electrode Earth Cable | 26.6144
BI2685121 | Sensors Cable | 106.6338
BI2685122 | Electricity Supply Cable | 106.6338
BI2755100 | Ignition Electrode Cable (Advance) | 21.8295
BI2755102 | Detection Electrode Cable | 22.5572
KI1001105 | O-RING 173 X 262 | 0.78277
KI1001128 | O-RING 925 X 178 | 0.5292
KI1001130 | O-RING 13.95 X 2.62 | 0.78277
KI1001502 | DHW FLOW SWITCH KIT | 44.0118
KI1001503 | Clamp Kit | 9.3051
KI1002119 | O-RING 1.78 X 6.07 | 0.5292
KI1002121 | O-RING 10.78 X 2.62 | 0.7938
KI1002512 | Directional Control Valve | 131.7267
KI1003114 | Gasket 3 x 17 | 0.6615
KI1004102 | 12 Rail Burner 20K | 74.0439
KI1004113 | O-Ring 26.58 X 3.53 | 0.78277
KI1004147 | 14 Rail Burner 24/1 | 80.0084
KI1005102 | 3/4 CH VALVE | 46.2829
KI1005107 | RING NUT 1/2 | 1.3451
KI1006126 | REGULATION PCB 20/24 | 161.6486
KI1016104 | OVERHEAT THERMOSTAT | 54.684
KI1016157 | LAMP (RESET PUSH BUTTON) | 12.348
KI1022573 | Pump Kit | 219.4637
KI1022574 | CLAMP KIT | 10.8266
KI1024156 | SIT MODUREG COIL | 56.8449
KI1031101 | FORK STEP 20.5 | 1.1025
KI1031104 | LOCKING FORK | 0.78277
KI1042101 | Fork | 0.7497
KI1042102 | O-RING FOR NTC | 0.5292
KI1042107 | D.H.W Flow Switch | 13.3844
KI1042109 | O-Ring 5.28 X 1.78 | 0.5292
KI1042110 | O-Ring 15.88 X 2.62 | 0.7497
KI1042118 | O-RING 20.24 X 2.62 | 0.78277
KI1042120 | Locking Fork | 1.2458
KI1042124 | M5 x16mm Screw | 0.2205
KI1042126 | C.H Fitting | 24.4976
KI1042501 | NTC Temperature Probe (Blue) | 13.8143
KI1042507 | DHW FLOW SWITCH | 64.838
KI1042508 | KIT DRAIN PLUG 3/8 | 5.27
KI1042509 | By-Pass Valve Kit | 29.536
KI1042511 | DIVERTER VALVE BODY | 70.8025
KI1042512 | DIRECTIONAL CONTROL VALVE | 170.1599
KI1042514 | CH GROUP KIT | 52.0601
KI1043103 | EXPANSION VESSEL | 104.8808
KI1043113 | O-RING 20.22 X 3.53 | 0.78277
KI1043114 | O-RING 17.04 X 3.53 | 0.78277
KI1043118 | Main Circuit Flow Switch | 54.9927
KI1043144 | O-Ring 18.64 X 3.53 | 0.78277
KI1043145 | O-RING 2.90 X 1.78 | 0.5292
KI1043151 | DIAPHRAM SAFETY VALVE | 17.1659
KI1064101 | IGNITION ELECTRODE RIGHT | 16.2839
KI1064102 | IGNITION ELECTRODE LEFT | 15.0271
KI1064103 | Detection Electrode | 15.7878
KI1064504 | NATURAL GAS NOZZLE KIT | 27.9594
KI1064505 | INJECTOR KIT 124 G20 | 21.9508
KI1064506 | LPG Convert Kit M90, M96, M296 | 21.3334
KI1066104 | Overheat Thermostat | 31.8292
KI1066111 | Drive Shaft | 4.1674
KI1066157 | Lockout Lamp | 6.8906
KI1066162 | Reset Button | 7.9931
KI1066208 | Cable Holder | 2.2932
KI1074104 | Gas Valve SIT 837 From OCT 96 | 219.2432
KI1086102 | IGNITION BOARD ME | 145.2213
KI1086103 | IGNITION BOARD MFS | 202.7057
KI1087120 | FAN 20/1 & 120 MFS | 175.7275
KI1117120 | FAN 24/1 & 124 MFS | 170.1599
KI1147106 | REAR INSULATING PANEL | 27.9594
KI1156105 | Panel Knobs | 2.646
KI1157588 | COMBUSTION CHAMBER SEALS KIT | 116.2256
KI1217501 | SEALED CHAMBER SEAL KIT | 36.603
KI1267103 | Air Pressure Switch | 63.7576
KI1901801 | O-RING SET | 83.5364
KI1903801 | O-RING PACKING SET ACQUAPIU | 88.2772
Biasi UK April 2025: General Price Increase